## HVAC Systems
Throckmorton HVAC Systems
2016-09-07
HVAC Equipment | Zone 1 (Middle) | Zone 2 (West) | Zone 3 (East)
| Built: 1972 | Built: 1987 | Built: 1996
Office and Public Space HVAC Systems | Air Intake: Below Grade > Denison Street Side; Common for Zone 1 and 2; Space filled with used Equipment and Supplies | Air Intake: Below Grade > Denison Street Side; Common for Zone 1 and 2; Space filled with used Equipment and Supplies | Air Intake: North side on building at the second floor level
| Pre-Heat, Steam Coils > Dehumidification | Pre-Heat, Steam Coils > Dehumidification | Pre-Heat, Steam Coils > Dehumidification
| One Bank of Fiber Furnace Type Filters in Air Intake Chase | One Bank of Fiber Furnace Type Filters in Air Intake Chase
| Untempered Fresh Air is Vented into the Equipment Room | Untempered Fresh Air is Vented into the Equipment Room | Untempered Fresh Air is Vented into the Equipment Room
| Rolled Filter on the Intake > Dustlok (Fiberbond); Also referred to as Hogs Hair | Multiple Banks of Fiber Furnace Type Filters | Multiple Banks of Fiber Furnace Type Filters
Lab Exhaust and Ventilation Systems | Location: Basement | Location: Penthouse | Location: Penthouse
| Shared Air Intake with Comfort Heating and Cooling System | Roof-Mounted Air Intake | Roof-Mounted Air Intake
| Pre-Heat, Steam Coils > Dehumidification | Pre-Heat, Steam Coils > Dehumidification | Pre-Heat, Steam Coils > Dehumidification
| Set to Deliver 16 Air Changes Per Hour; No Adjustments during Off Hours or when space is unoccupied for extended periods of time | Set to Deliver 16 Air Changes Per Hour; No Adjustments during Off Hours or when space is unoccupied for extended periods of time | Set to Deliver 16 Air Changes Per Hour; No Adjustments during Off Hours or when space is unoccupied for extended periods of time
| Tempered Make-up is provided to each lab | Tempered Make-up is provided to each lab | Tempered Make-up is provided to each lab
| Mag Guages are in use in Labs | Mag Guages are in use in Labs | Mag Guages are in use in Labs
| Supply air duct work is insulated internally > Insulation sluffs off onto equipment, etc. | Supply air duct work is insulated internally > Insulation sluffs off onto equipment, etc. | Supply air duct work is insulated internally > Insulation sluffs off onto equipment, etc.
| Exhaust from each lab is ducted into a central plenum > system drawing less than 1.04 " of Hg | Exhaust from each lab is ducted into a central plenum > system drawing less than 1.04 " of Hg | Exhaust from each lab is ducted into a central plenum > system drawing less than 1.04 " of Hg

## Events List
Possible Event Scenarios
The possible event scenarios below represent sources of harm or situations where individuals could be injured or become ill. They also represent activities, products or services that can interact with the enviroment, and as a result result in harm to that ecosystem.
Natural Events | Technological Events | Human Caused Events
Blizzard or Ice Storm | Card Access Control System Failure | Accidental deaths of top administrators and/or board members
Coastal Tsunami | Cellular Telephone Failure | Accidental Hazmat Release
Drought | Communications Failure (see below) | Animal/Crop Eco-terrorism
Earthquake (catastrophic) | Dam Failure | Bomb Threat
Earthquake (minor) | Electrical System Failure | Civil Disturbance
Epidemic | Email Communication Failure | Death of a Student
Flood, External (River) | Fire Alarm Failure | Disruptive Computer System Hacking / Virus / Outage Event
High Winds/Microbursts/Straight line winds | Fire, Internal | Hate Crime
Hurricane | Fire, Lab Building | Hazmat Exposure, External
Ice Storm | Fire, Residential Building | Hazmat Exposure, Internal
Landslide - Mudslide | Flood, Internal | Hostage Situation
Severe Thunderstorm | Fuel Shortage | Increased Homeland Security Alerts
Snow Fall | Generator Failure | IT System Security Breach
Temperature Extremes | HVAC Failure | Labor Action
Tidal Wave | Information Systems Failure | Mail/Package Bomb
Tornado | IT Infrastructure Disruption | Mass Casualty Incident (Medical), e.g. food poisonings, flu epidemic, SARs-like agents,
Urban/Flash flood | Mass Communications failure (used to alert campus in event of emergencies) | Mass Casualty Incident (Trauma), e.g. due to building collapse, van accident, etc.
Volcano | Medical Gas Failure | Missing Person
Wild Fire | Natural Gas Failure | Public Health Emergency/Communicable Disease/Epidemic
| Rural Fire | Sports/Public Event Disturbance
Environmental Events | Sewer Failure | Stalking
Deplete Renewable Resources | Shortage of Critical Materials/Unavailability of Supplies | Student Abduction
Habitat Destruction | Steam Failure | Suspicious Letter
Contaminate Waterways | Structural Damage | Suspicious Powder
Airborne Releases | Telephone Failure | Terrorism, Biological (including intentional biological agent release)
Contaminate Water Supplies | Transportation Failure | Terrorism, Chemical
Soil Contamination | University Radio Failure (AM/FM on campus station; handheld VHF/UHF/800 MHz) | Terrorism, Radioactive (including intentional release of radiological material)
Groundwater Contamination | Urban Fire | Theft of 'Select Agent'
Wild Life Destruction | Vacuum Failure (Lab/Clinical) | VIP Situation
Transportation Incident | Water Supply Failure | Workplace Violence (to include active shooter and threatening situations involving students)

## Risk Matrix
HVAC System Risk Assessment
2016-09-07
Location: |  |  | Department: |  |  |  | PI: |  |  |  | Date: |  | Assessor:
ACTIVITY | THREAT EVENT | PROBABILITY | SEVERITY = MAGNITUDE of IMPACTS | [7 empty] | SEVERITY IMPACTS | UNMITIGATED RISK | PREPAREDNESS | RELATIVE RISK
|  |  | HUMAN IMPACT |  | ENERGY IMPACT |  | FACILITIES IMPACT |  | INSTITUTIONAL IMPACT
Activities Performed in the Course of Work or Study | Hazards | Relative Likelihood This will Occur | Potential Deaths or Injuries |  | Energy Usage |  | Physical Damage and Costs |  | Interruption of Research & Teaching Impact Reputation/Image |  | Overall Impact (Average) | Probability x Severity Impacts | Level of Readiness | Unmitigated Risk/Preparedness
Activity within the exposure area associated with the operation of the Institution that includes the site, people and procedures. | Natural Hazards Technological Human Terrorism | Likelihood of Failure | Frequency of Occurrence | Population at Risk | Frequency of Occurrence | Impact to Energy Usage | Extent of Damage | Cost Impact | Duration of Interruption | Impact on Reputation/ Public Image/ Regulatory Noncompliance | Severity of Impact | Uncontrolled Risk | Control Effectiveness | To Sort Results, Unprotect Sheet, Go To (F5) "Result Sort" Then use Sort Function
Defined Tasks | Identified Risk | Probability | Frequency | Human Number | Frequency | Energy Impact | Damage | Facility Cost | Duration of Interruption | Public Relations | Severity | Raw Risk | Preparedness | Relative Risk
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[11 empty] | 0 | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
|  | Will not occur | None | None | None | Minimal | Mild | <$100K | Hours | None | 1.125 | 1.125 | Poor | 0.5625 | 1 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 2
Carpeting is located in the student study areas. | Carpeting serves a reservoir for dust collection and mold spores. | Inevitable | Few minor injuries | 10 to 99 | None | None | Mild | <$100K | Hours | Minor | 1.625 | 8.125 | Fair | 2.7083 | 5 | 2 | 3 | 1 | 1 | 2 | 1 | 1 | 2 | 3
AVERAGE SCORE |  | 0.52174 | 0.3913 | 0.43478 | 0.34783 | 0.65217 | 0.69565 | 0.043478 | 0.34783 | 0.3913 | 0.41304 | 0.69565 | 1.3913 | 0.28895
Controlled documents are maintained electronically. Printed documents are UNCONTROLLED. Prior to relying on a printed document, verify that it is current.
Note on D7: Consider the number of occurrences on your campus, the number of similar events at other Universities, and any changes or trends that could affect the frequency of this event on your campus. Estimate the likelihood this event will occur in next 10 years. 1. Not applicable (will not occur) 2. Doubtful (not likely) 3. Possible (could occur) 4. Probable (very likely to occur) 5. Inevitable (will occur)
Note on E7: If this event has occurred in the past on your campus, what was the extent of injuries and deaths that occurred? 1. None or this event has never occurred on campus 2. Few or minor injuries 3. Multiple minor injuries or a major injury 4. Multiple major injuries or a death 5. Multiple deaths and major injuries
Note on F7: Consider the population at risk for injuries or deaths from this event on your campus or from similar events at other universities, and any changes or trends that would affect future injuries and deaths from this type of event. Estimate the population size that could incur injuries and deaths from this event. 1. None 2. One to nine individuals 3. 10-99 individuals 4. 100-999 individuals 5. >100 individuals
Note on I7: Consider the vulnerability of your greenhouse complex to this event. Estimate the extent of damage to greenhouse-wide facilities. 1. Little or no damage 2. Mild damage to several areas 3. Moderate damage to multiple areas 4. Severe damage to multiple areas 5. Extensive damage to most areas
Note on J7: Considering the extent of damage to the greenhouse complex, estimate the total cost to respond to the event and repair or replace all damaged facilities. 1. Less that $100K 2. Between $100K and $250K 3. Between $250K and $500K 4. Between $500K and $1M 5. More than $1M
Note on K7: If this event were to occur on your campus, estimate the duration of interruption to COA teaching and research activities, and business operations. 1. Hours 2. Days 3. Weeks 4. Months 5. Years or longer
Note on L7: To what extent would this event negatively impact the COA/KSU reputation or public image over the long term? 1. None 2. Minor 3. Moderate 4. Significant 5. Severe
Note on O7: Consider what the level of preparedness is for each threat. 1. None: Plan is not developed, no training has occurred (SOPs, BMPs), nor has redesign/equipment upgrades been undertaken. 2. Poor: Plan is not developed, but some training has occurred. Some resources have been expended/identified to start the process of upgrading facilities/equipment. 3. Fair: Plan is developed, but needs to be updated or training needs to occur to test the plan. While some upgrades have been done, a greenhouse-wide assessment of need based on BMP has not been undertaken. 4. Good: Plan is developed and training has occurred. Controls are in place, but administrative and/or engineering controls could be improved. 5. Prepared: Plan is developed. It is written and current, and full controls are in place for all steady state, upset and emergency operating practices and conditions. Training is conducted on a routine basis to test the plan. Plan is shared with stakeholders.
Note on G7: What is the frequency of energy consumption regarding this threat on your campus? 1. None 2. Infrequently 3. Every month 4. Every week 5. Daily
Note on H7: Considering the consumption of energy, what is the impact on conserving energy on your campus? 1. None 2. Minimal 3. Medium 4. High 5. Exceeds KSU energy conservation policy